V16 = Abfuhr Cryo, V22 = CryoL, V15 = CryoR, V21 = Schleuse Probe, V17 = Abfuhr Probe, V8 = Bypass, V9 = nach MFC, V7 = Flow, V12 = Liquid/Gas Sample, V11 = Mixing Tank, V14 = CH2, V10 = Reg L, V6 = RegR, V5 = CH1, V1 = VacR, V13 = VacL, V2 = Neon, V3 = Argon, V4 = Krypton, V20 = T5 und T3, V18 = Absperrventil (T2 und Pumpen), V19 = Schlauchanschluss

- VacR, VacL - Vacuum valves

- Neon, Argon, Krypton - Gas valves

- CH1, CH2 - Channel valves

- RegR, Reg L - Regulator valves

- Flow, Bypass, nach MFC - Flow control

- Mixing Tank, Liquid/Gas Sample - Sample handling

- CryoL, CryoR, Abfuhr Cryo - Cryostat valves

- Schleuse Probe, Abfuhr Probe - Probe valves

- T5 und T3, Absperrventil (T2 und Pumpen), Schlauchanschluss

- T1, T2, T3, T4, T5
  - Turbo, Oil, Spectrometer, Mirror in Cryostat, Sample Tray
  - CH1, CH2, MFC, Filter and Cooling Rod
  - Liquid/Gas Sample, Mixing Tank
  - Neon, Argon, Krypton

Bypass, Flow, RegR, RegL, Vaccum